Dated 31th July 2017

**List of Keaser Compressor Spares**

**(Compressor Model # BSD 81)**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **S.No** | **Description** | **Part No.** | **Qty** | **Unit price** |  | **Total Amount** |
| 1 | Oil Filter’s | 6.3464.1 | 6 |  |  |  |
| 2 | Air Filter’s | 6.4139.0 | 6 |  |  |  |
| 3 | Oil Separator Cartridge | 6.3569.0 | 6 |  |  |  |
| 4 | Sigma Fluid Oil S-460-19 Ltr | 9.5409.00010 | 7 |  |  |  |
| 5 | Maint. Kit Inlet Valve | 400892.0 | 4 |  |  |  |
| 6 | Maint. Kit Min Press Ckeck valve (MPCV) | 400982.3 | 4 |  |  |  |
| 7 | Maint. Kit for Combi Auxiliary Vent Valve (CAVV) | 400905 | 4 |  |  |  |
| 8 | Maint. Kit for Combination Valve | 400952.0002 | 4 |  |  |  |
| 9 | Repair Kit for Combine Auxiliary vent valve | 400707.0002 | 4 |  |  |  |
| 10 | Safety Pressure Switch | 7.6650 E0 | 2 |  |  |  |
| 11 | Diff. Pressure Switch 1.5 Bar | 7.6491.0 | 2 |  |  |  |
| 12 | Control Line kits | 400904.0 | 2 |  |  |  |
| 13 | Motor Coupling | 5.3129 E3 | 2 |  |  |  |
| 14 | Grease Unirex N3 | 6.3234.0 | 4 |  |  |  |
| 15 | Micro filter Cartridge E-E-48 | 9.4864.0 | 12 |  |  |  |
| 16 | Micro filter Cartridge E-D-48 | 9.4840.0 | 12 |  |  |  |
| 17 | Resistance Thermos Meter PT 100 Sensor | 7.7035 E1 | 2 |  |  |  |
| 18 | ECO-Drain Wearing Kits13 | 630029 | 6 |  |  |  |
| 19 | ECO-Drain Wearing Kits 21/10/30/31 | 8.2448.1 | 6 |  |  |  |
| 20 | Diaphragm Eco Drain13 | 8.2413.0 | 6 |  |  |  |
| 21 | Oil Cooler Gas kit Ring | 5.2767.0 | 4 |  |  |  |
| 22 | Service kit 5 Years | 9.5421.00010 | 2 |  |  |  |
| 23 | Silencer Inserters  (4 pcs for each silencer ) | 9.3305.0 | 8 |  |  |  |
| 24 | Desiccant Material  Alu.Oxid 45 kg ; | 9.3380.00020 | 3 Cans |  |  |  |
| 25 | Desiccant Material  Alu.Oxid 5 kg ; | 9.3380.00040 | 1 Can |  |  |  |
|  |  |  |  |  |  |  |
| 26 | Main control panel Display / Controller |  | 1 |  |  |  |
|  |  |  |  |  |  |  |