|  |  |  |  |
| --- | --- | --- | --- |
| **Item** | **Description** | **UOM** | **QTY** |
|    1. | CABLE GLAND; BRASS CuZn39Pb3 NICKEL PLATED PG13.5Manufacturer: JACOBOEM PART NO.: 50.013 |  EA  |   15  |
| 2. |  CABLE GLAND; BRASS CuZn39Pb3 NICKEL PLATED PG21Manufacturer: JACOBOEM PART NO.: 50.021 |  EA |  15 |
| 3 | CABLE GLAND; BRASS CuZn39Pb3 NICKEL PLATED PG29Manufacturer: JACOBOEM PART NO.: 50.029 | EA | 15 |
| 4 | CABLE GLAND; BRASS CuZn39Pb3 NICKEL PLATED PG36Manufacturer: JACOBOEM PART NO.: 50.036 | EA | 15 |
| 5 | CABLE GLAND; BRASS CuZn39Pb3 NICKEL PLATED PG42Manufacturer: JACOBOEM PART NO.: 50.042 | EA | 15 |
| 6 | CABLE GLAND; BRASS CuZn39Pb3 NICKEL PLATED PG48Manufacturer: JACOBOEM PART NO.: 50.048 | EA | 15 |
| 7 | CABLE GLAND; BRASS CUZN39PB3 NICKEL PLATED PG 7 SIZE 5MMX24MM (LXH)Manufacturer: JACOBOEM PART NO.:50.007 | EA | 15 |
| 8 | CABLE GLAND; BRASS CUZN39PB3 NICKEL PLATED PG 9 SIZE 6MMX29MM (LXH)Manufacturer: JACOBOEM PART NO.:50.009 | EA | 15 |
| 9 | CABLE GLAND; BRASS CUZN39PB3 NICKEL PLATED PG 11 SIZE 6MMX29.5MM (LXH)Manufacturer: JACOBOEM PART NO.:50.011 | EA | 15 |
| 10 | CABLE GLAND; BRASS CUZN39PB3 NICKEL PLATED PG 16 SIZE 6.5MMX31.5MM (LXH)Manufacturer: JACOBOEM PART NO.:50.016 | EA | 15 |