## Cover
Cairo Festival City Festival Living 3 Development Landscape, Infrastructure and External Works Tender BOQ

## Summary
| SECTION | TOTAL AMOUNT
1 | Sewage Network | 0
2 | Domestic Water Network | 0
3 | Fire & Irrigation Water Network | 0
4 | Electrical Network | 0
5 | Telecommunication Network (Telecom Egypt Network) | 0
6 | Telecommunication Network (CFC Network) | 0
7 | Chilled Water Network | 0
8 | Roads | 0
9 | Hardscape and Grading Works | 0
10 | Softscape | 0
11 | Softscape Irrigation | 0
12 | Landscape Lighting | 0
13 | Site Furniture | 0
14 | Signage | 0
15 | Private Garden Walls | 0
16 | External Fence | 0
17 | Water & Fire Fighting Tank | 0
18 | Control Room | 0
19 | ETS Rooms | 0
20 | Swimming Pool | 0
| Additional Items | 0
| Total | 0

## Fire & Irrigation Water Network
| Item | v | Add Omit | Unit | Rate | Total (EGP)
FIRE & IRRIGATION WATER DISTRIBUTION NETWORK:
Supplying, installing, connecting and testing pressurized HDPE pipes pressure rating 16 bar for domestic & fire water networking piping system, including but not limited to fittings, accessories, thrust block, concrete encasement if any, excavation in any kind of soil including rock soil, disposal of surplus material to public damping area, dewatering, replacement, bedding, backfilling, compaction test, surrounding clear sand for pipes, flashing, cleaning, disinfection and all needed to complete the work as per drawings and technical specifications
A | 110 mm. Diam. | 11 |  | m |  | 0
A
B | 150 mm. Diam. | 31 |  | m |  | 0
B
C | 200 mm. Diam. | 870 |  | m |  | 0
C
C | Valves
C | Supplying, installing, connecting and testing all valves including fittings according to specifications and drawings and all required for installation of the following valves diameter:
C
C | Gate Valves
C
D | 250 mm dia. | 6 |  | nr |  | 0
D
D | Valve Chamber
E | Supply, construct and test Valve Chamber including all valves, D.I fittings and accessories, excavation in any type of soil including rock soil, disposal of surplus material to public damping area, dewatering, replacement, bedding, plain concrete, Cast-in-situ or precast reinforced concrete, insulation, water proofing, backfilling, compaction, compaction test ,c.i. frame & cover, steps, flashing, cleaning and all what is needed to complete the work as required by the drawings and technical specifications: |  |  | .
E
F | Air Valve Chamber | 1 |  | nr |  | 0
F
G | Wash Valve Chamber | 1 |  | nr |  | 0
G
H | Flowmeter & Switch Valve chamber | 1 |  | nr |  | 0
| Carried forward |  |  |  |  | 0
| Brought forward |  |  |  |  | 0
Fire Hydrant
Supply ,install and test Pillar Type Street Fire Hydrant complete with all, valves, D.I. fittings and accessories, thrust block, connection to main water pipe line, the item also include but not limited excavation in any type of soil including rock soil, disposal of surplus material to public damping area ,dewatering ,replacement, bedding, surrounding clear sand for pipes, insulation, backfilling, compaction, compaction test, flashing, cleaning, disinfection and all what is needed to complete the work as required by the drawings and technical specifications:
A | Street Pillar Type Fire Hydrant | 8 |  | nr |  | 0
A
A | Miscellaneous
A
B | Irrigation Water Pipes End Plug | 1 |  | nr |  | 0
B
C | Irrigation Water Tie In | 1 |  | nr |  | 0
C
D | Siamese connection | 1 |  | nr |  | 0
D
D
D
D
D
D
D
| Carried forward |  |  |  |  | 0
| Brought forward |  |  |  |  | 0
Additional Items
Contractor to list here any additional items not included above and required to complete and handover the works:
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total |  |  |  |  | 0

## Irrigation
| Item | v | Add Omit | Unit | Rate | Total (EGP)
IRRIGATION
The following works are to be carried out in accordance with the Technical Specifications for Irrigation Works prepared and the Package Drawings listed below: -
Pipes
Irrigation Pipes
supply and install UPVC pipes of 10 bar working pressure including earthwork, trenchwork, backfilling, bedding, all fittings, joints, bends, special fittings, welding, testing and disinfection and any other necessary requirements, all according to the drawings and specifications prepared
A | 160 mm irrigation pipe diameter | 396 |  | m |  | 0
A
B | 110 mm irrigation pipe diameter | 484 |  | m |  | 0
B | [5 empty] | 0
C | 75 mm irrigation pipe diameter | 53 |  | m |  | 0
C | [5 empty] | 0
D | 63 mm irrigation pipe diameter | 48.3 |  | m |  | 0
D | [5 empty] | 0
E | 50 mm irrigation pipe diameter | 615 |  | m |  | 0
E | [5 empty] | 0
F | 32 mm irrigation pipe diameter | 3295 |  | m |  | 0
F
F | Valves
F
F | Master Valves
F | Supply and install control valve including excavation, valve box with cover, waterproof connectors, pressure regulator, brass ball valve, male adapter, brick support, PVC elbow, PVC tee, Nipple, washed gravel and any other necessary requirements, all according to the drawings and specifications prepared
F
G | 3 inch Valve | 3 |  | nr |  | 0
G
G | Quick coupling valve
G | Supply and install Quick Coupling valve including excavation. valve box, PVC nipple, PVC street elbows, brick support, PVC tee or PE saddle and any other necessary requirements, all according to the drawings and specifications prepared
G
H | Quick Coupling Valve | 5 |  | nr |  | 0
| Carried forward |  |  |  |  | 0
| Brought forward |  |  |  |  | 0
H
H | Air Valve
H | Supply and install Air valve including excavation. valve box, PVC nipple, PVC street elbows, brick support, PVC tee or PE saddle and any other necessary requirements, all according to the drawings and specifications prepared
A | Air Valve (2") | 1 |  | nr |  | 0
Isolation Valve
Supply and install Isolation valve including excavation. valve box, PVC nipple, PVC street elbows, brick support, PVC tee or PE saddle and any other necessary requirements, all according to the drawings and specifications prepared
A | Isolation Valve | 3 |  | nr |  | 0
A
A | Flushing Valve
A | Supply and install Flushing valve including excavation. valve box, PVC nipple, PVC street elbows, brick support, PVC tee or PE saddle and any other necessary requirements, all according to the drawings and specifications prepared
B | Flushing Valve | 3 |  | nr |  | 0
B
B | Electrical Solenoid Valve
B | Deliver, install and test, Electrical solenoid valve with pressure regulator, self clean, resistance operation pressure up to 220 PSI, connected with manual valve (inside separate circular valve box), Disk filter, all required fitting, to be inside rectangular valve box as per standard specification and installation detail Dwg
B
C | Electrical Solenoid Valve (1") | 3 |  | nr |  | 0
C | [5 empty] | 0
D | Electrical Solenoid Valve (1.5") | 20 |  | nr |  | 0
D | [5 empty] | 0
E | Electrical Solenoid Valve (2") | 2 |  | nr |  | 0
E
E | Flow Sensor
E | Supply and install flow sensor including excavation, valve box with cover, waterproof connectors, model flow, model FCT 308, brick support, foundation, wire to interface panel and any other necessary requirements, all according to the drawings and specifications prepared
E
F | Flow Sensor | 1 |  | nr |  | 0
| Carried forward |  |  |  |  | 0
| Brought forward |  |  |  |  | 0
F
F | Decoders
F | Supply and install decoder and any other necessary requirements, all according to the drawings and specifications prepared
F | [5 empty] | 0
G | Decoder One Station DEC-1SP-1 | 1 |  | nr |  | 0
G | [5 empty] | 0
H | Flow Sensor Decoder | 1 |  | nr |  | 0
0
| Cables |  |  |  |  | 0
| Supply and install direct buried cables including excavation, backfilling, UPVC conduit, jacket, casing, all accessories, fittings and any other necessary requirements, all according to the drawings and specifications prepared |  |  |  |  | 0
0
A | Decoder Cables - (14 AWG) | 824 |  | m |  | 0
A | [5 empty] | 0
A | Irrigation Controller |  |  |  |  | 0
A | Irrigation Controller (plastic pedestal) to run 12 valves at least in the same time, decoder wire size AWG 12 with GSM module and including grounding grid, earthing, concrete base, electrical wiring and all required fittings & accessories as per specification and drawings |  |  |  |  | 0
A | [5 empty] | 0
B | Controllers for decoder system in plastic pedestal enclosure | 1 |  | nr |  | 0
B | [5 empty] | 0
B | Surge Protection
B | Surge protection for decoders wire including all required fittings and accessories as per specification and drawings
B
C | Surge Protection (every 200-300 m approx. of decoder wire) | 1 |  | nr |  | 0
C
C | Drip Line Pipes
C | Deliver, install and tested PE pipe 16 mm PC 4L/hr. spacing 50 cm, Dripper shall be pressure compensating dripper with constant flow rate and continuous cleaning feature, the works including the all required fitting as per specification and installation Dwg.
C
D | Drip line pipes for groundcovers | 15828.84 |  | m |  | 0
| Carried forward |  |  |  |  | 0
| Brought forward |  |  |  |  | 0
0
Sprinklers
Deliver, install and test 4" Pop up Spray sprinkler the sprinkler shall have a factory–installed drain check valve capable of checking up to 3.0 m in elevation change the price shall include all the required fittings and nozzle to complete the installation as per the standard specification and installation details dwg.
#REF! | [5 empty] | 0
#REF! | Spray Head (5.1 m radius) - 4 inch height | 433 |  | nr |  | 0
0
| Carried forward |  |  |  |  | 0
| Brought forward |  |  |  |  | 0
Additional Items
Contractor to list here any additional items not included above and required to complete and handover the works:
A
| Carried to Summary |  |  |  |  | 0