## Sheet1
| 申请 | 行 | 序号 | 产品 | 标准、材质 | NPS | 长度（米） | 外径 | 壁厚 | 重量（吨） | 备注
| 107759 | 2 | 1 | 无缝碳钢管 | ASTM A106 Gr.B/ASME SA106 Gr.B; | 1" | 5.8 | 33.4 | 3.38 | 3 | 平端，不刷漆
|  |  | 2 | 无缝碳钢管 | ASTM A106 Gr.B/ASME SA106 Gr.B; | 1-1/4" | 5.8 | 42.2 | 3.56 | 3 | 平端，不刷漆
|  |  | 3 | 无缝碳钢管 | ASTM A106 Gr.B/ASME SA106 Gr.B; | 1-1/2" | 5.8 | 48.3 | 3.68 | 3 | 平端，不刷漆
|  |  | 4 | 无缝碳钢管 | ASTM A106 Gr.B/ASME SA106 Gr.B; | 2" | 5.8 | 60.3 | 3.91 | 3 | 平端，不刷漆
|  |  | 5 | 无缝碳钢锅炉管 | ASTM A192/ASME SA192; | 1" | 5.8 | 33.4 | 3.38 | 3 | 平端，不刷漆
|  |  | 6 | 无缝碳钢锅炉管 | ASTM A192/ASME SA192; | 1-1/2" | 5.8 | 48.3 | 3.68 | 3 | 平端，不刷漆
|  |  | 7 | 无缝碳钢锅炉管 | ASTM A192/ASME SA192; | 2" | 5.8 | 60.3 | 3.91 | 3 | 平端，不刷漆
|  |  | 8 | 无缝碳钢锅炉管 | ASTM A192/ASME SA192; | 2-1/2" | 5.8 | 73 | 5.16 | 3 | 平端，不刷漆
|  |  | 9 | 无缝碳钢锅炉管 | ASTM A192/ASME SA192; | 3" | 5.8 | 88.9 | 5.49 | 3 | 平端，不刷漆
|  |  | 合计 | [6 empty] | 27
备注： 锅炉管用途 最低工作压力1兆帕 最低工作温度120℃

## Sheet2
| 申请 | 行 | No. | Products | Standard | NPS | Length（M） | OD | SCH40 WT | Weight(t） | Note
| 107759 | 2 | 1 | Seamless Carbon Steel Pipe | ASTM A106 Gr.B/ASME SA106 Gr.B; | 1" | 5.8 | 33.4 | 3.38 | 3 | Plain end,surface bare without anti-rust varnish coating
|  |  | 2 | Seamless Carbon Steel Pipe | ASTM A106 Gr.B/ASME SA106 Gr.B; | 1-1/4" | 5.8 | 42.2 | 3.56 | 3 | Plain end,surface bare without anti-rust varnish coating
|  |  | 3 | Seamless Carbon Steel Pipe | ASTM A106 Gr.B/ASME SA106 Gr.B; | 1-1/2" | 5.8 | 48.3 | 3.68 | 3 | Plain end,surface bare without anti-rust varnish coating
|  |  | 4 | Seamless Carbon Steel Pipe | ASTM A106 Gr.B/ASME SA106 Gr.B; | 2" | 5.8 | 60.3 | 3.91 | 3 | Plain end,surface bare without anti-rust varnish coating
|  |  | 5 | Seamless Carbon Steel Boiler Tubes | ASTM A192/ASME SA192; | 1" | 5.8 | 33.4 | 3.38 | 3 | Plain end,surface bare without anti-rust varnish coating
|  |  | 6 | Seamless Carbon Steel Boiler Tubes | ASTM A192/ASME SA192; | 1-1/2" | 5.8 | 48.3 | 3.68 | 3 | Plain end,surface bare without anti-rust varnish coating
|  |  | 7 | Seamless Carbon Steel Boiler Tubes | ASTM A192/ASME SA192; | 2" | 5.8 | 60.3 | 3.91 | 3 | Plain end,surface bare without anti-rust varnish coating
|  |  | 8 | Seamless Carbon Steel Boiler Tubes | ASTM A192/ASME SA192; | 2-1/2" | 5.8 | 73 | 5.16 | 3 | Plain end,surface bare without anti-rust varnish coating
|  |  | 9 | Seamless Carbon Steel Boiler Tubes | ASTM A192/ASME SA192; | 3" | 5.8 | 88.9 | 5.49 | 3 | Plain end,surface bare without anti-rust varnish coating
|  |  | Total | [6 empty] | 27
Note： Operating Conditions • Operating Pressure: 10 bar • Operating Temperature: Minimum 120°C • Application: Industrial Steam Boiler