Section II: Schedule of Requirements

eSourcing reference: RFQ/2018/6412

**Technical specifications for Goods and Comparative Data Table:**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item No** | **UNOPS minimum technical requirements** | **Qty**  **(Numbers)** | **Is quotation compliant?** Bidder to complete | **Details of goods offered.** Bidder to complete |
| 1 | **Diesel Generator( Standby)**  120kVA Tier 4 with silencer, electronic governor, oil drain pump and capable of synchronisation, to be used with High Speed Diesel HSD  **NOTE: Refer to Section IV: Generator General Specifications for more detailed general specifications and guidance on generator requirement.** | 2 | Yes  No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| a) | Synchronising panel | 1 | Yes  No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| b) | Fuel tank capacity 1,000 litres | 1 | Yes  No | Insert details of goods offered, including specifications and brand/model offered if applicable |
| 2 | **Earthing System**  Supply, install, connect and commission a typical earthing system, including earthing rods, earthing pits, covers, and conductors.  Note: the price should include all needed material to achieve required resistance and accessories |  |  |  |
| a) | Earthing rods (one for each generator) | 2 | Yes  No | Insert details of goods offered, including specifications and brand/model offered if applicable |

**Delivery requirements and Comparative Data Table:**

|  |  |  |  |
| --- | --- | --- | --- |
| **UNOPS Requirements** | | **Is quotation compliant?** Bidder to complete | **Details**  Bidder to complete |
| **Delivery time** | Bidder shall deliver the goods 4 weeks after Contract signature. | Yes  No | Insert details |
| **Delivery place and Incoterms rules** | DAP Hargeisa police head quarter compound, Somaliland, Hargeisa. | Yes  No | Insert details |
| **Consignee details** | Mewael Addis Kahsay  Project Manager  Somalia | Yes  No | Insert details |
| **UNOPS Right to vary requirements** | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, without any change in the unit prices or other terms and conditions of the RFQ. | Yes  No | Insert details |

**00ax: +45 45 33 75 01**