- Auxiliary Relay

 DZS-12B TH

 Rated Voltage = 220V

 Manufacturer : SHANGHAI RELAY CO, LTD. CHINA or equivalent

Quantity: 03 Nos

- Trip Circuit Supervision Relay

 BTJ-1B Trip Circuit Supervision Relay

 Measuring Current = DC 1 mA

 Auxiliary Voltage = DC 220V

 Time Delay = 1~7 sec.

 Manufacturer : SHANGHAI ILLINO RELAY CO, LTD. CHINA or equivalent

Quantity: 06 Nos

- Setting Card for KCVA-21 series Thyristor Rectifier

 Manufacturer : XJ POWER CO, LTD, CHINA or equivalent

Quantity: 02 Nos

- Voltage Transformer (VT)

 VT Type: JDZX11-12B

 Ratio/Output/Class: 11000/√3 0.11/√3/200VA/3P

 0.1/√3/45VA/0.2

 Manufacturer : SHANGHAI INSTRUMENT TRANSFORMER WORKS

Quantity: 02 Nos

- VT Fuse RN2-10

 Make : CHINA or equivalent

Quantity: 02 Nos