## Sheet1
7 | Centrifugal pump sets for condenser water recirculation complete with TEFC motor & all accessories as specified. (540 US GPM x 25 M Head) | NO | 5
8 | Centrifugal pump sets for chilled water recirculation complete with TEFC motor drive set & all accessories, as specified. (430 US GPM x 35 M Head) | NO | 5
9 | Centrifugal pump sets for chilled water recirculation complete with TEFC motor drive set & all accessories, as specified for supply of chilled water to various AHU rooms. (470 US GPM x 85 M Head) | NOs | 3
10 | Centrifugal pump sets for condenser water recirculation complete with TEFC motor & all accessories as specified. (670 US GPM x 25 M Head) | NO | 2
11 | Centrifugal pump sets for primary chilled water recirculation complete with TEFC motor drive set & all accessories, as specified (540 US GPM x 15 M Head) | NO | 2
12
13 | Centrifugal pump sets for Secondary chilled water recirculation complete with TEFC motor with VVVFD drive set & all accessories, as specified. VVVFD shall be complete in all respect like provision of energy consumption measuring and data storing facility of energy consumption and current in compliance to all mandatory requirement of GRIHA. (540 US GPM x 35 M Head) | NO | 2
14 | Centrifugal pump sets for condenser water recirculation complete with TEFC motor & all accessories as specified. (600 US GPM x 25 M Head) | NO | 2
15 | Centrifugal pump sets for primary chilled water recirculation complete with TEFC motor drive set & all accessories, as specified (480 US GPM x 15 M Head) | NO | 2
16
17 | Centrifugal pump sets for Secondary chilled water recirculation complete with TEFC motor with VVVFD drive set & all accessories, as specified. VVVFD shall be complete in all respect like provision of energy consumption measuring and data storing facility of energy consumption and current in compliance to all mandatory requirement of GRIHA. (480 US GPM x 35 M Head) | NO | 2