BOILER FEED WATER PUMPS

| Pump Normal Capacity | 96 T/H |
| --- | --- |
| Head | 80 Bar g |
| Temperature | 105 ºC |
| Pump type | Multistage-Radial split casing |
| Bearings | Roller |
| Lubrication | Grease |
| Motor Power | …..KW (Vendor To Advise) |
| Power source | 400 V; 50 Hz |
| Motor protection class | IP 55,, nonhazardous |
| Quantity | 03 Nos. |