Liquid Tight Conduit

Liquid Tight Conduit

- Use a liquid tight ﬂexible conduit a conductors with a nominal rating of

- Sizes 3/8" to 2"

- Integral rigid and ﬂexible PVC cons

- Dry temp. rating: 0º to 176º F (-18

- In Oil temp. rating: up to 160º F (70

- Wet temp. rating: up to 140º F (60º

- Use straight-thru and right-angle c