## 手动螺杆提升阀
label | function | nom. diameter | nom. pressure | description | material housing | material in contact with medium | Material Sealing | process connection | Safety position | scope of supply | instruments | pipe | material pipe section | medium
3131.V91-RM06 | HV 手动 | DN 50 | PN 16 | Lift Check Valve提升止回阀 | EN-JL1040 | EN-JL1040 | graphite | flanged 法兰式 | -- | TISCO |  | 121WP223 | ST | 1.22 Emergency water
3131.V91-RM07 | HV 手动 | DN 50 | PN 16 | Lift Check Valve提升止回阀 | EN-JL1040 | EN-JL1040 | graphite | flanged 法兰式 | -- | TISCO |  | 313WP031 | ST | 1.01 Potable water
3194.V91-RM02 | HV 手动 | DN 65 |  | Lift Check Valve提升止回阀 | P-UNIT Booster station | P-UNIT Booster station | P-UNIT Booster station | P-UNIT Booster station | -- | TISCO |  | 319WP017 | ST | 1.01 Potable water
3194.V91-RM05 | HV 手动 | DN 65 |  | Lift Check Valve提升止回阀 | P-UNIT Booster station | P-UNIT Booster station | P-UNIT Booster station | P-UNIT Booster station | -- | TISCO |  | 319WP016 | ST | 1.01 Potable water