| Items | Pictures/specifications | Quantity |
| --- | --- | --- |
| PROJECTOR Astrolux ED500 PROJECTOR Astrolux ED500 Type: 4ME500 / 1XHPL-N400W REF: 06945300 |  | 60 PC |
| Astrolux ED500 projector Astrolux ED500 Projector Type: 4ME500 / 1XQL-165W840RSI REF: 14717500 |  | 15 PC |
| Aluminum reflector 9ME500R Aluminum reflector 9ME500R REF: 53108099 |  | 60 PC |
| Glass closure on metal frame Glass closure on metal frame for aluminum reflector IP65 9ME 100 GC 500-MR REF: 53175299 |  | 60 PC |