## 询价表
厦 门 兴 恒 隆 股 份 有 限 公 司
询价表
客户 | Sunmixchina |  | 认证 | UL/DLC
产品名称 | Corn Bulbs
规格参数 | Watts | 60W | 120W | 150W | 图片
详细具体的要求 | Voltage | AC 100-277V
| CCT | 5700K
| CRI | >84
| Lumens | 7200LM | 14400LM | 16500-18000LM
| PFC | >0.9
| Viewing angle | 360 Degree
| IP Rating | IP64
| LED Brand | EPISTAR
| LED type | SMD 2835
| Housing | Aluminium
| Dimension | 10.24"*3.54" | 10.8"*4.4" | 13.2"*4.9"
产品名称 | Movable Wall Pack
规格参数 | Watts | 40W | 60W |  | 图片
详细具体的要求 | Voltage | 100-277VAC 50/60Hz
| CCT | 5700K
| CRI | >70
| Lumens | 5000-5400lm | 10000-10800lm
| PFC | >0.9
| Viewing angle | 60 degree
| IP Rating | IP65
| Housing | Aluminium
| Dimension | 232*132*137mm | 232*132*225mm
产品名称 | Slim Model floodlight
规格参数 | Watts | 90W | 150W |  | 图片
详细具体的要求 | Voltage | 100-277VAC 50/60Hz | 200-480VAC 50/60Hz
| CCT | 5700K
| CRI | >70
| Lumens | 12000-13000LM | 17500-18800LM
| PFC | >0.9
| Viewing angle | 150*85 degree(Type III)
| IP Rating | IP65
| LED Brand | PHILIPS
| LED type | LUXEON 3030 2D(1.5W)
| Housing | Aluminium
| Dimension | 482*320*73mm
产品名称 | Ground Floodlight
规格参数 | Watts | 50W | 70W | 80W | 图片
详细具体的要求 | Voltage | 100-277VAC 50/60Hz
| CCT | 5700K
| CRI | 70 | >80 | >70
| Lumens | 4500LM | 6800LM | 8600-9100LM
| PFC | >0.9 | >0.95 | >0.9
Viewing angle
IP Rating
LED type
Housing
Dimension
产品名称 | Wall Washer
规格参数 | Watts | 36W |  |  | 图片
详细具体的要求 | Voltage | AC85-265V
| CRI | >80
| Lumens | 3600LM
| PFC | >0.9
| Viewing angle | 15-30 Degree
| IP Rating | IP65
| LED Brand | Samsung
| LED type | 1W
| Housing | Aluminium+Glass
| Dimension | 350*180*100mm
产品名称 | LED Vanity Lights
Bulb Model | Model | STX-BV5 | KV8008 |  | 图片
规格参数 | Watts | 36W(4 Bulbs) | 30W(4 Bulbs)
详细具体的要求 | Voltage | 110-120V
| CCT | 6500K
| Lumens | 3600LM | 3000LM
| LED Brand | EPISTAR
| Housing | Glass
| Dimension | W36.5"*H7.5"*E4" | W24"*H5.6"*E6.3"
产品名称 | Garden Light
规格参数 | Watts | 75W |  |  | 图片
详细具体的要求 | Voltage | 100-277VAC 50/60Hz
| CCT | 5700K
| CRI | >70
| Lumens | 7200-7700lm
| PFC | >0.9
| Viewing angle | 120 Degree
| IP Rating | WET IP65
| LED type | 2835(0.5W)
| Housing | Aluminium
| Dimension | 500*450*610mm
其它