Dear Sir,

Please quote SUBMERSIBLE PUMP. Qty: 01

Technical Data:

Pump:

Type: Submersible

Discharge Size: 2 inch NPT (Slip on connection) Capacity: 40 to 50 GPM

Head: 5 Feet. to 34 Feet. (1.5 to 10.3 m) Max. Water temp.: 110 oF Service: Water, Hydrocarbon Condensate Material of Construction:

Casing: S.S. Type 304 Impeller: S.S. Type 304 Shaft: S.S. Type 304 Fasteners: 304 SS Mechanical

Seal

Upper Seal: Ceramic / Carbon

Lower Seal: Silicon Carbide / Silicon Carbide

Electric Motor:

Speed / Frequency: 2900 Rpm / 50 Hz.

Current, Voltage: AC Single Phase, 220 V /AC Three Phase,400 V

Features:

• Motor and connections shall be fitted with complete sealing system for protection against water ingress.

• Pump should be fitted with foot valve connected with motor-switch to serve as a safety device to avoid dry running of pump.

• Pump must equipped with trolley for easy movement of pump along with following accessories.

-Submersible Power Cable 50 ft , with trolley mounted starter and circuit breaker with overload , short circuit protection electrical

-Discharge flexible hose, 2” dia. (Slip on connection), 100 ft

• Pump and motor will be supplied along with one year recommended spares

(Special terms and conditions:

• Spares: List of OEM recommended spares/ repair kits to be provided with technical bid. Availability and supply of spare parts will be ensured for at least next 3 years.

• Documents: Part list, Operation and maintenance manual (Soft and hard copy) to be provided along.

• Certificate: Factory test certificate should be provide along with equipment

• Warranty: 02 Years (Pump and motor) from the date of delivery shall be provided.

• Un-priced commercial bid: shall be submitted with technical bid.

• Payment: payment shall be released after satisfactory testing of the equipment at site.

Best Regards,

Cherry Lee

KJ international Group Company Limited

Address:   West side, the 2nd floor,No.2 Building,No.551 Kangyi Road, Pudong, Shanghai, China

Tel:0086-21-58126110 50689285  ext:801

Direct tel:0086-21-50393980

Fax:0086-21-50396508