|  |  |  |  |
| --- | --- | --- | --- |
| **Item#** | **Item description**  | **UOM** | **QTY** |
| 1.         | DIGITAL MICROSCOPE; DINO LITE EDGE, ZOOM 700X TO 900X, 5MP PRODUCTRESOLUTIONManufacturer: DINO-LITEOEM PART NO.:AM7515MT8A | No. | 01 |
| 2.         | MULTI-PUROSE ADAPTER; XY STAGE WITH 360 DEGREE ROTATING TURNTABLE, 5CMROTATING BASEManufacturer: DINO-LITEOEM PART NO.:MS-15X-S1 | No. | 01 |
| 3.         | TABLE TOP STAND; RACK FOR DINOLITE MICROSCOPEManufacturer: DINO-LITEOEM PART NO.:RK-06F | No. | 01 |
| 4.         | ADAPTER; USB TO SERIAL 2PORT RS232 OEM BRAINBOXES PART NUMBER US-257 | No. | 08 |
| 5.         | PROGRAMMABLE POWER SUPPLY, 20A P/N: CPX400DP , ,MANF: TTI | No. | 06 |
| 6.         | EMULATOR; SPI530 MPSD EMULATOR POD FOR TMS320C3X JTAG 3.3V to 5VManufacturer: SPECTRUM DIGITAL, INCOEM PART NO.:701121 | Kits | 02 |
| 7.         | GNSS REPEATER KIT; SATELLITE SIGNALS MODEL NO GNSSRK | No. | 02 |
| 8.         | USB TO SERIAL ADAPTER; TWO RS422/485 SERIAL PORTS 128 BYTE TX AND 384 BYTERX FIFO UP TO 921600 BAUD RATE (BRAIN BOXES US-313)Manufacturer: BRAINBOXESOEM PART NO.:US-313 | No. | 16 |